TASC + B2H Quality Standards (HQS) Pre-Inspection Checklist

Use this checklist to prepare your unit for inspection. All items must be in good working order.

# General Unit Condition

- Unit is clean and free of pests  
- Floors, walls, and ceilings in good condition  
- No exposed wiring or structural hazards

# Windows and Doors

- Windows intact and operable  
- Doors secure and lockable  
- No broken or cracked glass  
- Weather stripping and screens in place

# Electrical and Lighting

- Adequate outlets in each room  
- Light fixtures functional  
- No exposed wiring  
- GFCI outlets in kitchens and bathrooms

# Plumbing and Bathroom Facilities

- Hot and cold water available  
- No leaks or water damage  
- Functioning toilet, sink, and tub/shower  
- Proper ventilation

# Kitchen Facilities

- Stove and oven working with ventilation  
- Sink operational with hot/cold water  
- Refrigerator functional  
- Cabinets and surfaces clean

# Heating and Cooling

- Adequate heat source for winter  
- Ventilation or A/C if applicable  
- Thermostat operable

# Smoke Detectors and Safety

- Smoke detector in each bedroom and hallway  
- Carbon monoxide detector installed  
- Fire extinguisher accessible  
- No tripping hazards